SyncTide

Administrator Manual

System Configuration & Administration Guide

Version 1.6.0 — April 2026

# Table of Contents

(Use Insert > Table of Contents in Word/LibreOffice to auto-generate)

# 1. Introduction

This manual is intended for SyncTide administrators. It covers all administrative functions: user management, equipment configuration, system settings, messaging gateways, and platform maintenance.

Prerequisites: Admin-level access to SyncTide.

# 2. User Administration

Navigate to User Admin from the sidebar menu.

## 2.1 Creating Users

Click 'Add New User'

Enter username (required) and password (required)

Set the role: Admin, Operator, or Viewer

Select allowed pages from the multi-select (auto-filtered by role)

Optionally restrict access to specific equipment categories or devices

Click Create

## 2.2 Managing Users

The user list shows all accounts with their role (colour-coded), status, and permissions.

Click the edit button to modify a user's profile, role, permissions, or equipment whitelist

Toggle Active/Inactive to enable or disable an account

Use the password section to reset a user's password

Click Delete to permanently remove a user (requires confirmation)

Note: You cannot delete your own account or the last active admin account.

## 2.3 Role Permissions

| Feature | Viewer | Operator | Admin |
| --- | --- | --- | --- |
| Dashboard | View | View | View + Export |
| Reports | View + Download | View + Download | Full control |
| Messaging Contacts | View | Create/Edit/Delete | Full control |
| Messaging Rules | View | Create/Edit/Delete | Full control |
| Messaging Gateways | View | View | Full control |
| User Admin | — | — | Full control |
| Equipment Config | — | — | Full control |
| System Config | — | — | Full control |

## 2.4 Equipment Whitelist

Each user can be restricted to specific equipment:

By Category: User only sees devices in the selected categories (including sub-categories)

By Device: User only sees specifically listed devices

Empty whitelist: User sees all devices

The whitelist applies across Dashboard, Reports, Map, and all data endpoints.

# 3. Equipment Configuration

Navigate to Equipment Configuration from the sidebar.

## 3.1 Device Metadata

Select a device from the dropdown. The Metadata tab lets you edit:

Equipment name and device code

Equipment group (used for filtering and organisation)

Model and serial number

Latitude and longitude (for map positioning)

Alarm category assignment (hierarchical)

## 3.2 Tag Mapping

The Tag Mapping tab links raw CSV tags to standardised system tags:

Each row shows an equipment tag name (from the CSV files)

Map it to a System Tag (standardised name + unit)

Set a scale factor for unit conversion (default: 1.0)

Toggle active/inactive to include or exclude tags from monitoring

Note: Only active, mapped tags count towards the license tag limit.

## 3.3 Monitoring & Alarms

The Monitoring tab configures alarm detection for each device:

### Communication Timeout

Set the maximum time a device can go without sending data before it is considered offline. Configure in Days, Hours, and Minutes.

Communication Lost Alarm Enabled: When checked, the system creates an alarm event when the device goes stale. The alarm auto-clears when data resumes.

### Alarm Rules per Tag

For each mapped system tag, configure:

Alarm Enabled: Toggle alarm detection on/off

Value Type: Numeric (threshold comparison) or Boolean (true/false)

Condition Operator: <, <=, =, >, >=, != (numeric only)

Threshold Value: The setpoint that triggers the alarm (numeric only)

The latest measurement value and timestamp are displayed next to each rule for reference.

Note: Alarms only trigger for measurements received AFTER the alarm rule was created or last modified.

# 4. System Configuration

## 4.1 Runtime Configuration

Configure platform paths and ingestion settings:

Raw Data Folder: Where CSV files are read from

Reports Output Folder: Where generated reports are saved

Report Templates Folder: Where Excel templates are stored

Ingestion Interval: How often (in seconds) the system checks for new CSV files (minimum: 15s)

## 4.2 System Tags

Manage the standardised tag library:

Add new tags with name and unit of measurement

Edit existing tags

Deactivate unused tags

System tags are the standardised names used across all devices via tag mapping.

## 4.3 Alarm Categories

Build a hierarchical category tree for organising devices:

Create categories with name, icon, and optional parent category

Assign devices to categories in Equipment Configuration

Categories are used for the Asset Tree display and category-scoped alarm rules

## 4.4 License Management

View license status and upload new license files:

| Field | Description |
| --- | --- |
| Customer | Licensed organisation name |
| Tier | Starter (100 tags), Professional (500), Enterprise (2000), Unlimited |
| Modules | Licensed features: base, reports, sms |
| Tags Used | Current mapped tag count vs. maximum allowed |
| Maintenance Expiry | Date until which updates and support are included |
| MAC Binding | License is locked to the server's network adapter MAC address |

To install a new license, upload the .lic file in the License tab.

# 5. Messaging Gateway Configuration

Navigate to Messaging Center > Configuration to manage gateways.

## 5.1 Gateway Types

| Type | Use Case | Required Configuration |
| --- | --- | --- |
| Teltonika RUT241 | SMS via LTE router | Host IP, username, password, modem ID |
| Twilio | WhatsApp messages | Account SID, Auth Token, From number |
| Telegram | Telegram bot messages | Bot Token (from @BotFather), Parse mode |
| SMTP | Email notifications | SMTP host, port, TLS, username, password, from address |
| Generic HTTP | Custom webhook/API | URL, method, headers, body template |

## 5.2 Adding a Gateway

Click 'Add Gateway' in the Configuration tab

Select the gateway type

Enter the required configuration fields

Set as Active and optionally as Default

Save the gateway

Use the 'Test Send' feature to verify connectivity

## 5.3 Telegram Bot Setup

Open Telegram and message @BotFather

Send /newbot and follow the prompts to create a bot

Copy the bot token (format: 123456:ABC-DEF...)

Add the bot to your group chat

Send a message in the group, then call the getUpdates API to find the chat_id

Configure the gateway with the bot token and use the chat_id as the contact's Telegram Chat ID

## 5.4 SMTP Email Setup

For Gmail, use an App Password (not your account password):

Go to Google Account > Security > 2-Step Verification > App Passwords

Generate a new app password for 'Mail'

Use smtp.gmail.com, port 587, TLS enabled, your Gmail as username, and the app password

## 5.5 Escalation Flow

When an alarm triggers and matches an alarm rule:

The system queues messages for Level 1 contacts in the assigned escalation list

Messages are sent with an ACK token for acknowledgment

If no acknowledgment is received within the response timeout (default: 300 seconds), the system escalates to Level 2

Escalation continues through all levels, including parent list members if configured

Escalation stops when someone acknowledges or the maximum escalation level is reached

The cooldown period prevents repeat notifications for the same ongoing alarm

# 6. Data Ingestion

## 6.1 CSV File Format

SyncTide ingests CSV files with the following requirements:

| Column | Required | Description |
| --- | --- | --- |
| time_stamp | Yes | Timestamp of the measurement (multiple formats supported) |
| tag_name | Yes | Name of the measured parameter |
| value | Yes | Numeric measurement value |
| unit | No | Unit of measurement (optional) |

Supported delimiters: comma, semicolon, pipe, tab (auto-detected).

Supported timestamp formats: ISO 8601, DD/MM/YYYY HH:MM:SS, and many other common formats.

## 6.2 File Placement

Place CSV files in the configured Raw Data Folder. The ingestion worker automatically picks up new files at the configured interval.

Files are tracked by SHA-256 hash — the same file is never imported twice

Duplicate measurements (same device + timestamp + tag) are automatically skipped

Invalid rows (bad timestamps, non-numeric values) are dropped with logging

## 6.3 Folder Structure

Organise files by device using subfolders:

raw_data/DeviceCode_1/file1.csv

raw_data/DeviceCode_2/file2.csv

The folder name is used as the device code. Devices are created automatically on first file import.

# 7. Backup & Maintenance

## 7.1 Database Backup

Use PostgreSQL pg_dump for database backups:

pg_dump -U synctide -d synctide_db > backup_YYYYMMDD.sql

Schedule regular backups using Windows Task Scheduler or a cron-equivalent.

## 7.2 Log Files

SyncTide maintains rotating log files in the logs/ directory:

| Log File | Contents | Rotation |
| --- | --- | --- |
| backend.log | API server logs | 5 MB x 5 backups |
| messaging.log | Messaging engine logs | 5 MB x 5 backups |
| supervisor.log | Windows service supervisor | 5 MB x 5 backups |
| ingestion.log | Data ingestion worker | 10 MB x 3 backups |

## 7.3 Service Management

SyncTide runs as Windows services:

SyncTideBackend — API server (FastAPI)

Use services.msc or PowerShell (Start-Service, Stop-Service, Restart-Service) to manage

The platform supervisor automatically restarts crashed services (up to 5 restarts in a 5-minute window).